# 1. Introduction

## 1.1  The Clinical Imperative

For individuals living with amyotrophic lateral sclerosis (ALS), locked-in syndrome, severe stroke, or anarthria following spinal cord injury, speech loss is not merely a functional deficit  -it is a severance from the most fundamental form of human connection. Motor neuron degeneration or cortical damage can destroy the pathway from intention to articulation whilst leaving cognition entirely intact, stranding a person inside a body that cannot speak. Conventional augmentative and alternative communication (AAC) approaches  -eye-tracking interfaces, switch scanning  -provide partial relief, but each requires preserved residual motor function that late-stage ALS and locked-in patients may no longer possess [1]. Brain-computer interfaces (BCIs) offer a categorically different solution: by reading neural signals directly from the cortex, bypassing broken motor pathways entirely, a BCI can translate the intent to speak into speech itself without any muscular output. The clinical imperative is real and urgent  -ALS alone affects approximately 4–6 individuals per 100,000 globally [1], and the millions affected by severe dysarthria, aphasia, and paralysis represent a population for whom restored communication is transformative.

What was once speculative has become demonstrably achievable. Over the past five years, several landmark studies have achieved communication rates approaching natural impaired speech and word error rates (WER) competitive with commercial automatic speech recognition for dysarthric speakers [2][3][4][5]. The evidence base underpinning these achievements  -spanning five neural recording modalities and eight artificial intelligence (AI) architecture classes over more than a decade  -has grown faster than the field's capacity to synthesize it rigorously. The present systematic review addresses that gap.

## 1.2  The Modality and AI Landscape

Neural signals suitable for speech decoding span a wide spectrum of invasiveness and signal fidelity. Invasive modalities  -electrocorticography (ECoG), intracortical microelectrode arrays, and stereotactic EEG (sEEG)  -provide the highest signal quality and have yielded the strongest clinical results to date. Non-invasive modalities  -scalp EEG, magnetoencephalography (MEG), and functional MRI (fMRI)  -offer accessibility without surgical risk, at the cost of lower spatial resolution and signal-to-noise ratio. Hybrid approaches combining EEG with functional near-infrared spectroscopy (fNIRS), and peripheral surface electromyography (sEMG) for silent speech, occupy intermediate positions. A technical comparison of all modality groups is provided in Table 1; detailed characterization appears in Section 3 of this review.

On the AI side, the same deep learning revolution that transformed natural language processing and computer vision has reshaped neural speech decoding. From hidden Markov model baselines in 2015 [6], the field has progressed through convolutional neural networks [7], encoder-decoder sequence-to-sequence frameworks [8], transformers [9], and self-supervised pre-training [10] to large language model (LLM)-integrated decoders [2]. This architectural evolution is documented in Table 3 and Fig. 2; Section 4 provides the analytical synthesis.

## 1.3  Why a Systematic Review Now

The rapid growth of this literature has created a comparability problem that individual papers cannot resolve. Word error rates, classification accuracies, Pearson correlations, and BLEU scores appear side by side in the literature as if commensurable  -they are not. A WER of 9% on a 50-word vocabulary is not equivalent to a WER of 23% on a 125,000-word vocabulary, even when both values come from the same system in the same participant [3]. Three prior reviews have addressed portions of this landscape  -EEG imagined speech [11][12] and ECoG BCIs [13]  -but none synthesizes AI architectural evolution, quantitative performance benchmarks, and generalization evidence across the full modality landscape in a unified, PRISMA-compliant framework [14]. There is also a generalization gap the literature has not yet quantified: of the 71 studies identified in the present review, 40 (56%) demonstrate no generalization of their decoding model beyond a single participant and single session. Cross-session evidence exists in exactly two studies; cross-language evidence in exactly two. For a technology whose clinical promise depends on scalable deployment, this is a structural limitation that systematic synthesis is uniquely positioned to expose and measure.

The present review addresses three research questions: (RQ1) What AI architectures have been applied to brain-to-speech decoding from 2015 to 2026, and how have they evolved? (RQ2) What quantitative performance benchmarks are reported, and to what extent are they directly comparable? (RQ3) To what extent do the reported AI decoders generalize across participants, sessions, languages, and modalities?

## 1.4  Scope and Organization

This review covers empirical studies published between January 2015 and April 2026, identified through searches of PubMed, Scopus, IEEE Xplore, Web of Science, and arXiv. Following PRISMA 2020 screening [14], 71 studies were included across five modality groups: invasive (ECoG, intracortical, sEEG; n=32), non-invasive EEG (n=20), MEG/fMRI (n=11), hybrid/sEMG (n=6), and foundation model or transfer learning approaches (n=2). Section 2 describes the methodology. Sections 3 and 4 characterize the modality landscape and AI architectures. Section 5 reports performance benchmarks with comparability analysis. Section 6 evaluates generalization evidence. Section 7 discusses implications for research and clinical translation. Section 8 states conclusions.

References

Section 1 references  -to be renumbered sequentially in the final manuscript pass.

[1]	S. Laureys, M.-E. Faymonville, and P. Maquet, "Unresponsive wakefulness syndrome: A new name for the vegetative state or apallic syndrome," BMC Med., vol. 8, Art. no. 68, Nov. 2010, doi: 10.1186/1741-7015-8-68.

[2]	N. S. Card et al., "An accurate and rapidly calibrating speech neuroprosthesis," N. Engl. J. Med., vol. 391, no. 7, pp. 609–618, Aug. 2024, doi: 10.1056/NEJMoa2314132.

[3]	F. R. Willett et al., "A high-performance speech neuroprosthesis," Nature, vol. 620, pp. 1031–1036, Aug. 2023, doi: 10.1038/s41586-023-06377-x.

[4]	S. L. Metzger et al., "A high-performance neuroprosthesis for speech decoding and avatar control," Nature, vol. 620, pp. 1037–1046, Aug. 2023, doi: 10.1038/s41586-023-06443-4.

[5]	D. A. Moses et al., "Neuroprosthesis for decoding speech in a paralyzed person with anarthria," N. Engl. J. Med., vol. 385, no. 3, pp. 217–227, Jul. 2021, doi: 10.1056/NEJMoa2119271.

[6]	C. Herff et al., "Brain-to-text: Decoding spoken phrases from phonetic representations in the brain," Front. Neurosci., vol. 9, Art. no. 217, Jun. 2015, doi: 10.3389/fnins.2015.00217.

[7]	R. T. Schirrmeister et al., "Deep learning with convolutional neural networks for EEG decoding and visualization," Hum. Brain Mapp., vol. 38, no. 11, pp. 5391–5420, Nov. 2017, doi: 10.1002/hbm.23730.

[8]	J. G. Makin, D. A. Moses, and E. F. Chang, "Machine translation of cortical activity to text with an encoder–decoder framework," Nat. Neurosci., vol. 23, no. 4, pp. 575–582, Apr. 2020, doi: 10.1038/s41593-020-0608-8.

[9]	A. Vaswani et al., "Attention is all you need," in Proc. Adv. Neural Inf. Process. Syst. (NeurIPS), 2017, pp. 5998–6008.

[10]	D. Kostas et al., "BENDR: Using transformers and a contrastive self-supervised learning task to learn from massive amounts of EEG data," Front. Hum. Neurosci., vol. 15, Art. no. 653659, Aug. 2021, doi: 10.3389/fnhum.2021.653659.

[11]	J. T. Panachakel and A. G. Ramakrishnan, "Decoding covert speech from EEG  -A comprehensive review," Front. Neurosci., vol. 15, Art. no. 642251, Apr. 2021, doi: 10.3389/fnins.2021.642251.

[12]	D. Lopez-Bernal et al., "A state-of-the-art review of EEG-based imagined speech decoding," Front. Hum. Neurosci., vol. 16, Art. no. 867281, May 2022, doi: 10.3389/fnhum.2022.867281.

[13]	Q. Rabbani, G. Milsap, and N. E. Crone, "The potential for a speech brain-computer interface using chronic electrocorticography," Neurotherapeutics, vol. 16, pp. 144–165, Jan. 2019, doi: 10.1007/s13311-018-00692-2.

[14]	M. J. Page et al., "The PRISMA 2020 statement: An updated guideline for reporting systematic reviews," BMJ, vol. 372, Art. no. n71, Mar. 2021, doi: 10.1136/bmj.n71.