All Tables for my Systematic Review Paper

Table 1. Neural Recording Modality Comparison Matrix - Systematic Review of AI for Brain-to-Speech Decoding (2015–2026)

SNR = signal-to-noise ratio. WER = word error rate. PCC = Pearson correlation coefficient. WPM = words per minute. CER = character error rate. BLEU = bilingual evaluation understudy score. Performance ranges reflect best-reported values within this review's 71 included studies. Group A invasive studies (n=32) are subdivided by electrode type: ECoG-family n=22, intracortical n=8, sEEG n=4. Study counts per modality row are approximate where a study uses more than one modality type. Total n=71 across all five groups.

| Modality | Invasiveness | Spatial resolution | Temporal resolution | Signal SNR | Participant burden | Representative performance range (this review) | Studies (n) | Primary decoding task |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GROUP A - INVASIVE MODALITIES (n = 32 studies) |  |  |  |  |  |  |  |  |
| ECoG (standard / HD-ECoG / µECoG) | Craniotomy required; subdural grid or strip placement on cortical surface | ~1–5 mm between electrodes ~1 mm² cortical coverage per contact | ~1 ms; broadband high-gamma (70–150 Hz) resolves speech transients | High Minimal skull attenuation; low noise floor | Surgical implantation; typically epilepsy or ALS clinical populations | WER: 3–26% (overt / attempted speech) PCC: 0.69–0.87 (acoustic reconstruction) Accuracy: 58–97% (phoneme / word classification) Key studies: Makin 2020 WER 3%; Moses 2021 WER 26%; Chen 2024 PCC 0.804 (n=48); Metzger 2023 WER 25% | 22 | Overt, attempted, and imagined speech; phoneme and word classification; acoustic reconstruction |
| Intracortical (Utah array / microelectrode) | Neurosurgical implantation of microelectrode arrays into cortical grey matter | ~400 µm between electrodes Single-neuron and multi-unit activity resolution | <1 ms; single-spike temporal resolution; finest of all modalities | Very high Direct cortical access; spike-level SNR | Permanent or semi-permanent implant; primarily ALS / paralysis patient populations | WER: 2.5–9% (attempted speech, open vocabulary) WPM: 32–78 words per minute Longitudinal: 97.5% accuracy sustained >8 months (Card 2024) Key studies: Card 2024 WER 2.5%; Willett 2023 WER 9% / 62 WPM; Metzger 2023 78 WPM | 8 | Attempted / silent speech; open-vocabulary text and voice synthesis; real-time neuroprosthesis |
| sEEG (stereotactic / depth electrodes) | Minimally invasive depth electrode placement; no craniotomy required | ~3.5 mm between contacts Samples deep cortical and subcortical regions | ~1 ms; lower high-gamma sensitivity than ECoG; broader regional coverage | Moderate–high Less tissue displacement than ECoG grids | Epilepsy monitoring populations; increasing ALS and speech neuroprosthesis use | Accuracy: Group decoder outperforms individual decoders (Singh 2025) Audio PCC: Comparable to ECoG (Kohler 2022) CER: ~29% logosyllabic Chinese (Feng 2023) Key studies: Singh 2025 (n=25 sEEG, cross-participant); Angrick 2021 real-time imagined speech | 4 | Overt and imagined speech; cross-participant transfer; phoneme and syllable classification |
| GROUP B - NON-INVASIVE MODALITIES (n = 31 studies across EEG / MEG / fMRI) |  |  |  |  |  |  |  |  |
| Scalp EEG (electroencephalography) | None; surface scalp electrode placement via cap-based systems | ~10–50 mm (scalp level) Severe spatial smearing via skull and scalp tissue | ~1 ms; excellent temporal resolution but very low spatial specificity | Low Significant skull / scalp attenuation; artifact-prone | No surgery; suitable for healthy participants and outpatient clinical use | Closed-set accuracy: 70–92.5% (imagined speech classification) Open-vocabulary WER: ~35–45% (EEG-to-text paradigm) SSL gain: +5–15% over supervised baselines (BENDR, Kostas 2021) Key: Yang 2024 WER 35–45%; Agarwal 2022 73.56%; Abdulghani 2023 92.5%; Défossez 2023 (n=175) | 20 | Imagined / covert speech classification; perceived speech decoding; open-vocabulary text generation |
| MEG (magnetoencephalography) | None; superconducting SQUID sensor arrays; large fixed gantry system required | ~5–10 mm; better than EEG Tangential source sensitivity; poor radial sensitivity | ~1 ms; comparable to EEG; superior to fMRI | Moderate Requires magnetically shielded room; sensitive to motion | No surgery; expensive specialized facility required; limits ecological validity | Top-1 accuracy: 41% (Défossez 2023, n=175); up to 60.6% (d'Ascoli 2025, n=723, 3 languages) Mel-PCC: ~0.95 (Kwon 2024 - first intelligible MEG speech synthesis) BERTScore: 0.816 (Wang et al. MEG semantic reconstruction) Key: d'Ascoli 2025 (723 participants, 7 datasets, 3 languages); Kwon 2024 BigVGAN synthesis | 5 | Perceived speech decoding; word classification; acoustic synthesis; semantic reconstruction |
| fMRI (functional MRI) | None; BOLD signal acquisition in MRI scanner; no implant or preparation | ~1–3 mm voxel Highest spatial resolution of all non-invasive modalities | ~1–2 s (TR) Severe temporal limitation; hemodynamic response lags neural activity by ~5 s | Moderate BOLD is indirect; excellent spatial SNR; sensitive to head motion | No surgery; MRI scanner required; immobile during acquisition; high facility cost | Story identification: 100% (Tang 2023, n=3) BLEU-1: 27.8% (Yin 2024 brain predictive coding) Cross-participant: Demonstrated (Zhang 2024; Tang & Huth 2025) Key: Tang 2023 semantic reconstruction; Tang & Huth 2025 cross-participant multi-modal; Qiu 2025 MindLLM | 6 | Perceived and imagined language; continuous semantic reconstruction; LLM-integrated decoding |
| GROUP D - HYBRID AND PERIPHERAL MODALITIES (n = 6 studies) |  |  |  |  |  |  |  |  |
| HD-sEMG / Hybrid (EEG+fNIRS, HD-sEMG, sEMG) | None for sEMG and EEG+fNIRS; surface electrode placement only | Variable: HD-sEMG ~few mm (muscle surface) EEG+fNIRS: scalp-level spatial resolution | ~1 ms (sEMG) ~100–200 ms (fNIRS); combined modalities offer complementary temporal coverage | High (sEMG) Peripheral signal strong; fNIRS adds hemodynamic context to EEG | No surgery; wearable systems feasible; HD electrode arrays require careful placement | HD-sEMG phrase accuracy: 97.17% ±1.53% (Song 2023, n=15) CER: 3.11% ±1.46% (Song 2023 - 33 Chinese phrases) EEG+fNIRS gain: +8–12% over EEG alone (Sun 2024; Cooney 2022) Key: Song 2023 best CER in silent speech; Zhu 2021 87–90% (English/Chinese digits); Li 2022 Mandarin tonal | 6 | Silent speech; articulatory-based decoding; imagined speech classification; tonal language synthesis |
| GROUP E - FOUNDATION MODELS / TRANSFER LEARNING APPROACHES (n = 2 studies) |  |  |  |  |  |  |  |  |
| Foundation model / SSL (cross-modal approach) | Spans invasive modalities (iEEG, ECoG); pre-trained on large unlabeled neural corpora | Inherited from source modality (iEEG or ECoG) Not modality-specific | Inherited from source modality SSL improves effective SNR via large-scale pre-training | Inherited from source modality SSL pre-training improves effective SNR by learning signal structure | Requires large unlabeled neural datasets; few-shot fine-tuning minimizes participant burden | Downstream accuracy: Improved over supervised baselines (BrainBERT, Wang 2023) Reduced WER: SSL pretraining reduces WER on ECoG tasks (Yuan & Makin 2024) SSL approaches treat brain signal pre-training as analogous to wav2vec / BERT for speech and language Key: Wang 2023 BrainBERT (ICLR 2023, iEEG SSL foundation model); Yuan & Makin 2024 (ECoG SSL) | 2 | Downstream speech classification; WER reduction via pre-trained neural representations; cross-participant transfer |

Table 2. Core Performance Benchmarks  - Selected Studies from the AI for Brain-to-Speech Decoding Systematic Review (2015–2026). 28 studies selected from n=71 to represent the most informative and clearly reported quantitative benchmarks across all modality groups.

WER = word error rate. PCC = Pearson correlation coefficient. WPM = words per minute. CER = character error rate. BLEU = bilingual evaluation understudy. RT = reaction/prediction time. SSL = self-supervised learning. LM = language model. ED = encoder-decoder. TF = transformer. Green-tinted cells indicate landmark or record-setting results.  constrained vocabulary  - see notes. Open = open-vocabulary (unrestricted). Closed = fixed vocabulary. All values are best-reported figures from the published study.

| Authors & Year | Modality | n Participants | Clinical status | Decoding task | Vocabulary | Architecture | Metric type | Best reported value | Context & significance |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GROUP A - INVASIVE: ECoG / HD-ECoG / µECoG (selected studies from n=22) |  |  |  |  |  |  |  |  |  |
| Herff et al. (2015) | ECoG | 7 healthy | Healthy | Overt | Closed | HMM / ASR | WER | ~25% | 2015 baseline anchor - first Brain-to-Text pipeline; continuous ECoG→text using ASR techniques. Establishes the WER starting point for the field's 10-year trajectory. |
| Chartier et al. (2018) | ECoG | 4 | Clinical | Overt | Closed | Linear + RNN | PCC | r = 0.87 | Articulatory kinematic trajectory encoding from sensorimotor cortex. High correlation validates the articulatory intermediate representation approach adopted by many subsequent studies. |
| Angrick et al. (2019) | ECoG | 6 | Clinical | Overt | Closed | CNN (DenseNet 3D) | PCC | r = 0.69 | First densely-connected 3D CNN for ECoG speech synthesis. Established end-to-end deep learning for acoustic reconstruction from ECoG. WaveNet vocoder integration demonstrated. |
| Makin, Moses & Chang (2020) | ECoG | 4 | Clinical | Overt | Closed | ED Seq2Seq RNN | WER | ~3% | First machine-translation encoder-decoder for ECoG→text. WER achievable with constrained corpora. Established the seq2seq paradigm adopted by later neuroprosthesis work. Nature Neuroscience. |
| Moses et al. (2021) | ECoG | 1 | Anarthria (ALS-like) | Attempted | Closed | RNN | WER / WPM | WER 26% | Landmark NEJM study - first real-time sentence decoding in a completely paralyzed anarthric patient. Established clinical proof of concept for attempted speech neuroprosthesis. |
| Duraivel et al. (2023) | µECoG | 4 | Clinical | Overt | Closed | CNN (nonlinear) | % improvement | +35% | High-resolution µECoG (57× higher spatial resolution than standard macro-ECoG) significantly improves phoneme decoding accuracy. Establishes hardware resolution as a key performance driver. |
| Willett et al. (2023) | Intracortical | 1 | ALS | Attempted | Open | RNN + LM | WER / WPM | WER 9% | Nature landmark - highest WPM at time of publication for any speech neuroprosthesis. 50-word closed-set WER 9%; 125k-word vocabulary WER 23%. Demonstrates clinically viable communication rate approaching impaired natural speech. |
| Metzger et al. (2023) | HD-ECoG | 1 | ALS / paralysis | Attempted | Open | ED + Neural Vocoder | WER / WPM | WER 25% | Nature landmark - highest communication rate (78 WPM) of any neuroprosthesis study. Includes real-time avatar facial animation and voice synthesis alongside text decoding. HD-ECoG (253 electrodes). |
| Chen et al. (2024) | ECoG | 48 | Epilepsy / mixed | Overt | Closed | CNN (3D ResNet / SwinTF) | PCC | PCC = 0.804 | Largest ECoG cohort in the literature (n=48). Cross-subject acoustic decoding using ResNet and SwinTransformer. Demonstrates scalability of deep CNN approaches across a diverse participant sample. Nature Machine Intelligence. |
| Card et al. (2024) | Intracortical | 1 | ALS | Attempted | Open | RNN + LM | WER / WPM | WER 2.5% | Current best-reported WER across all modalities in this review. 125k-word vocabulary. 97.5% accuracy sustained over 8+ months. 30-minute calibration protocol. NEJM. Defines the current state of the art. |
| GROUP A - INVASIVE: sEEG / Cross-participant / Cross-session (selected studies) |  |  |  |  |  |  |  |  |  |
| Degenhart et al. (2020) | Intracortical | 2 | ALS / paralysis | Attempted | Closed | Linear (manifold alignment) | % retention (cross-session) | ~95% | Cross-session stabilization via low-dimensional manifold alignment. Demonstrates sustained BCI performance without full daily recalibration. Key generalization evidence for clinical scalability. Nature Biomedical Engineering. |
| Singh et al. (2025) | sEEG | 25 | Mixed clinical | Overt | Closed | ED Seq2Seq | Cross-participant accuracy | Group > individual | Largest sEEG speech decoding cohort (n=25). Group decoder using shared latent manifolds outperforms individual participant decoders. Demonstrates cross-participant transfer via distributed brain recordings. Nature Communications. |
| GROUP B - NON-INVASIVE EEG (selected studies from n=20) |  |  |  |  |  |  |  |  |  |
| Saha et al. (2019) | EEG | 10 | Healthy | Imagined | Closed | CNN + LSTM (hierarchical) | Accuracy | ~70–75% | Hierarchical deep learning for subject-independent imagined speech classification. Early demonstration of CNN+LSTM for cross-participant EEG imagined speech. Interspeech 2019. |
| Agarwal & Kumar (2022) | EEG | 13 | Healthy | Imagined | Closed (5-class) | LSTM (subject-independent) | Accuracy | 73.56% | Subject-independent LSTM decoding of 5 imagined speech classes. 0.14 s prediction time - fast enough for real-time BCI. Cross-participant generalization demonstrated. ETRI Journal. |
| Wang & Ji (2022) | EEG | Multiple | Healthy | Perceived | Open | Transformer + LLM (BART) | BLEU-1 / WER | BLEU-1 reported | First open-vocabulary EEG-to-text decoding using BART language model. Establishes the EEG+LLM paradigm. Zero-shot sentiment classification also demonstrated. AAAI 2022. |
| Kostas et al. (2021) - BENDR | EEG | Large-scale | Healthy (multi-dataset) | Multiple downstream | Closed | SSL Transformer (contrastive) | Accuracy gain (SSL vs supervised) | +5–15% | Contrastive SSL foundation model for EEG. Pre-training on large unlabeled datasets improves downstream speech task accuracy in limited-label regimes. Demonstrates wav2vec-style pre-training for neural signals. Frontiers HN. |
| Mahapatra & Bhuyan (2023) | EEG | Multiple | Healthy | Imagined | Closed | CNN + Transfer Learning | Accuracy (cross-dataset) | 89.01% (FEIS) | Cross-dataset transfer learning for imagined speech EEG decoding. Demonstrates generalizability across two public imagined speech datasets. Strong accuracy for cross-dataset transfer. J Physics Communications. |
| Duan et al. (2023) - DeWave | EEG | Multiple | Healthy | Perceived | Open | Transformer + LLM | BLEU / ROUGE | BLEU & ROUGE | Discrete EEG wave encoding without time markers - overcomes teacher-forcing limitation. Improves over Wang & Ji 2022 on BLEU and ROUGE metrics. EEG→text without explicit alignment. NeurIPS 2023. |
| GROUP C - NON-INVASIVE MEG / fMRI (selected studies from n=11) |  |  |  |  |  |  |  |  |  |
| Défossez et al. (2023) | MEG / EEG | 175 | Healthy | Perceived | Open | SSL (contrastive / wav2vec) | Top-1 accuracy | 41% Top-1 | Largest non-invasive speech decoding study at time of publication. Contrastive SSL across 4 public MEG/EEG datasets. Zero-shot segment decoding. Defines the non-invasive SSL state of the art. Nature Machine Intelligence. |
| Tang et al. (2023) | fMRI | 3 | Healthy | Perceived + Imagined | Open | Encoder + LLM (GPT) | Story identification | 100% | Continuous language reconstruction from fMRI. 100% story identification from imagined and perceived speech. First demonstration of LLM-based continuous semantic reconstruction from non-invasive brain signals. Nature Neuroscience. |
| Kwon et al. (2024) | MEG | 4 | Healthy | Overt | Closed | Transformer + BigVGAN | Mel-PCC | PCC ~0.95 | First intelligible speech synthesis directly from non-invasive MEG signals. Transformer + BigVGAN neural vocoder pipeline. Demonstrates acoustic reconstruction from MEG is achievable. Interspeech 2024. |
| d'Ascoli et al. (2025) | EEG / MEG | 723 | Healthy (multilingual) | Perceived | Closed (word-level) | CNN + Transformer | Top-1 word accuracy | Top-1 reported | Largest non-invasive word decoding study (n=723). Covers 7 datasets and 3 languages - first cross-language non-invasive decoding at scale. Performance scales with dataset size. Nature Communications. |
| Tang & Huth (2025) | Multi-modal | Multiple | Healthy | Perceived | Open | SSL + Transformer | Semantic accuracy (cross-modal) | Cross-modal demonstrated | First systematic cross-participant cross-modal semantic language decoding across EEG, MEG, and fMRI simultaneously. Demonstrates shared neural representations for language across recording modalities. Current Biology. |
| Yin, Ye & Li (2024) | fMRI | Narratives dataset | Healthy | Perceived | Open | Transformer (PredFT) | BLEU-1 | 27.8% BLEU-1 | Brain predictive coding framework (PredFT) for fMRI language reconstruction. Cross-attention transformer aligns fMRI representations with language model embeddings. arXiv preprint - verify final publication status. |
| GROUP D - HYBRID AND PERIPHERAL MODALITIES (selected studies from n=6) |  |  |  |  |  |  |  |  |  |
| Zhu et al. (2021) | HD-sEMG | Multiple | Healthy | Silent | Closed | CNN | Accuracy | 87–90% | Systematic electrode configuration optimization for HD-sEMG silent speech. English and Chinese digit classification. Demonstrates cross-language sEMG feasibility. Journal of Neural Engineering. |
| Song et al. (2023) | HD-sEMG | 15 | Healthy | Silent | Closed (33 phrases) | CNN + RNN (spatiotemporal) | CER / Phrase accuracy | CER 3.11% | Best CER in any silent speech study in this review. 33 Chinese phrases (82 syllables), n=15. Spatiotemporal CNN+RNN for HD-sEMG. Demonstrates peripheral sEMG achieves near-invasive accuracy for silent speech. IEEE TNSRE. |
| Cooney et al. (2022) | EEG + fNIRS | 19 | Healthy | Overt + Imagined | Closed | CNN (bimodal fusion) | Accuracy | 46.31% overt | Bimodal EEG+fNIRS architecture outperforms unimodal EEG alone. 19 participants. Demonstrates value of hybrid fusion for imagined and overt speech. Chance level = 25%. IEEE TBME. |

Table 3. AI Architecture Summary  - Eight Architecture Classes in Brain-to-Speech Decoding (2015–2026). Representative studies drawn from the 71 included studies in this systematic review. Architecture classes are organized in approximate chronological order of predominance in the field.

WER = word error rate. PCC = Pearson correlation coefficient. WPM = words per minute. CER = character error rate. BLEU = bilingual evaluation understudy score. SSL = self-supervised learning. LM = language model. TF = transformer. CNN = convolutional neural network. RNN = recurrent neural network. ED = encoder-decoder. n = number of participants. Study counts per architecture class are approximate as some studies use hybrid approaches classified under multiple categories. Row colors correspond to architectural eras as indicated in the group headers.

| Architecture class (era of predominance) | Representative studies (from n=71 included) | Input signal representation | Typical modality | Key strengths | Key limitations | Peak reported performance (this review, 2015–2026) |
| --- | --- | --- | --- | --- | --- | --- |
| ERA 1 - TRADITIONAL MACHINE LEARNING (predominant ~2015–2018; retained as baselines) |  |  |  |  |  |  |
| Traditional ML SVM / LDA / HMM / classical classifiers Era: 2015–2018 dominant; baseline in many later studies n = ~8 studies in this review | Herff et al. (2015) - Brain-to-Text baseline Martin et al. (2016) - imagined speech SVM Ramsey et al. (2018) - HD-ECoG SVM Proix et al. (2022) - frequency-band LDA Chaudhary et al. (2022) - LIS spelling SVM Wandelt et al. (2024) - single-neuron linear | • Handcrafted spectrotemporal features • High-gamma band power (70–150 Hz) • Frequency band features (theta, beta, gamma) • MFCC / LPC acoustic features • Phase-amplitude coupling measures | ECoG (primary) Also EEG (early work); intracortical (linear decoders) | • Interpretable - feature importance is explicit • Computationally efficient; no GPU required • Effective on very small labeled datasets (<10 participants) • Fast inference; suitable for real-time applications • Well-understood statistical properties | • Limited representational capacity for complex speech dynamics • Requires expert manual feature engineering • Poor scalability to large vocabularies and open-set decoding • Cannot capture complex long-range sequential dependencies • Performance ceiling significantly below deep learning approaches | WER: ~25% (Herff 2015, overt ECoG - field baseline) Accuracy: up to 88% (Martin 2016, 2-class imagined speech) Accuracy: 75.5% ±6.5% (Ramsey 2018, HD-ECoG, 4-phoneme+rest) Performance bounded by handcrafted feature quality; outperformed by deep learning on larger datasets |
| ERA 2 - CONVOLUTIONAL NEURAL NETWORKS (predominant ~2017–2022; widely used for spatial feature extraction) |  |  |  |  |  |  |
| CNN-based DenseNet / ResNet / EEGNet / 3D CNN / PICNN Era: 2017–2022 dominant; still standard for EEG/ECoG classification n = ~13 studies in this review | Angrick et al. (2019) - DenseNet 3D ECoG Duraivel et al. (2023) - µECoG CNN Chen et al. (2024) - 3D ResNet + SwinTF (n=48) Saha et al. (2019) - CNN+LSTM hierarchical EEG Abdulghani et al. (2023) - LSTM/CNN imagined EEG Song et al. (2023) - spatiotemporal CNN+RNN HD-sEMG Kamble et al. (2022) - CNN SPWVD features | • Raw or minimally processed neural signals • High-gamma band spectrograms (70–150 Hz) • Time-frequency representations (STFT, wavelet) • 3D spatiotemporal signal patches • Mel-frequency spectral coefficients (sEMG) | ECoG (primary) EEG (imagined speech) HD-sEMG (silent speech) µECoG shows largest CNN benefit over traditional ML | • Learns spatial and spectrotemporal features end-to-end • Robust to noise via hierarchical feature extraction • Scales effectively with more labeled data and participants • Well-established transfer learning ecosystem • State-of-the-art for EEG classification benchmarks | • Fixed receptive field limits long-range temporal modeling • Requires substantial labeled data for strong performance • Limited sequential dependency modeling without recurrence • Translation invariance may misalign neural temporal structure • Cross-participant generalization remains challenging | PCC: 0.804 (Chen 2024, 3D ResNet, n=48 - largest ECoG cohort) PCC: r=0.69 (Angrick 2019, DenseNet 3D, first DL synthesis) Improvement: +35% vs macro-ECoG (Duraivel 2023, µECoG) Accuracy: 97.17% phrase / CER 3.11% (Song 2023, HD-sEMG, n=15) Accuracy: 92.50% (Abdulghani 2023, imagined EEG, 4-class) CNNs achieve strongest results when combined with large ECoG cohorts or high-resolution electrode arrays |
| ERA 2/3 - RECURRENT NEURAL NETWORKS / LSTM / GRU (predominant ~2018–2023; key for clinical neuroprostheses) |  |  |  |  |  |  |
| RNN / LSTM / GRU LSTM / bidirectional LSTM / GRU / vanilla RNN Era: 2018–2023; dominant in clinical neuroprosthesis systems n = ~10 studies in this review | Willett et al. (2023) - RNN+LM, 62 WPM Card et al. (2024) - RNN+LM, WER 2.5% Moses et al. (2021) - RNN, first anarthria neuroprosthesis Agarwal & Kumar (2022) - LSTM imagined speech (n=13) Chien & Makin → Yuan & Makin (2024) - SSL+RNN ECoG Lee, Lee & Lee (2021) - LSTM deep metric learning Brumberg et al. (2018) - RNN real-time EEG synthesis | • Sequential neural signal feature streams • High-gamma band time series (invasive) • Spectrotemporal features with temporal context • Threshold crossing rates (intracortical) • Multi-unit activity binned time series | Intracortical (clinical neuroprostheses) ECoG (seq2seq systems) EEG (imagined speech) Dominant architecture in BrainGate and related ALS neuroprosthesis programs | • Natural handling of variable-length sequential speech dynamics • Well-validated in clinical neuroprosthesis settings over multi-year deployments • Captures temporal dependencies critical for continuous speech • Compatible with language model integration (n-gram, neural LM) • Relatively data-efficient compared to transformers on small clinical datasets | • Vanishing gradient limits very long sequence dependency modeling • Sequential computation prevents parallelization during training • May underperform transformers when large labeled datasets available • Gradient instability during training requires careful tuning • Cross-participant generalization limited without domain adaptation | WER: 2.5% / 32 WPM (Card 2024 - current best WER, any modality) WER: 9% / 62 WPM (Willett 2023 - highest clinically validated WPM) WER: 26% / 15 WPM (Moses 2021 - first anarthria neuroprosthesis, NEJM) Accuracy: 73.56% (Agarwal 2022, 5-class imagined, n=13, subject-independent) RNNs remain the dominant architecture in deployed clinical speech neuroprostheses despite transformer advances |
| ERA 3 - ENCODER-DECODER / SEQ2SEQ (predominant ~2019–2022; first continuous brain-to-text pipelines) |  |  |  |  |  |  |
| Encoder-Decoder / Seq2Seq Seq2seq RNN / LSTM encoder-decoder / attention-based ED Era: 2019–2022 dominant for ECoG→text; inspired by neural machine translation n = ~7 studies in this review | Makin, Moses & Chang (2020) - seq2seq ECoG→text (Nature Neuroscience) Anumanchipalli et al. (2019) - articulatory ED pipeline (Nature) Singh et al. (2025) - ED cross-participant sEEG (n=25) Kohler et al. (2022) - ED sEEG depth electrode synthesis Herff et al. (2019) - ED multi-area ECoG synthesis Li et al. (2022) - ED+GAN Mandarin sEMG | • ECoG/sEEG features → articulatory intermediate representation • Neural signal features → acoustic spectrogram • Spectrotemporal features → phoneme/text sequence • Cortical activity → speech production parameters | ECoG (primary) sEEG (depth electrodes) sEMG (tonal language) Articulatory intermediate representations particularly effective for ECoG | • Maps variable-length neural sequences to variable-length speech/text outputs • Enables full end-to-end brain-to-speech pipeline without hand-crafted features • Articulatory intermediate representations improve intelligibility and naturalness • Neural machine translation analogies allow leveraging mature NLP architectures • Cross-participant transfer feasible via shared encoder representations | • Teacher forcing during training can cause exposure bias at inference • Requires temporally aligned neural-speech training data pairs • Decoding speed limitations for real-time applications • Encoder-decoder interaction can be sub-optimal without joint optimization • Largely superseded by transformer-based architectures post-2022 | WER: ~3% (Makin 2020, constrained corpus - first ECoG→text seq2seq, Nature Neuroscience) PCC: r=0.87 articulatory features (Chartier 2018, informed seq2seq design) Cross-participant: Group > individual decoders (Singh 2025, n=25 sEEG distributed) Tonal language: PESQ/STOI/intelligibility (Li 2022, Mandarin sEMG seq2seq+GAN) ED architecture established the brain-to-text paradigm adopted by clinical neuroprosthesis programs; WER ~3% (Makin 2020) is constrained corpus - see Table 2 note |
| ERA 4 - TRANSFORMER / SELF-ATTENTION (predominant ~2022–present; rapidly growing in non-invasive decoding) |  |  |  |  |  |  |
| Transformer-based Self-attention / multi-head attention / SwinTransformer / conformer Era: 2022–present; dominant for non-invasive EEG/MEG/fMRI decoding; growing in ECoG n = ~10 studies in this review | Wang & Ji (2022) - Transformer+BART EEG open-vocab Duan et al. (2023) - DeWave discrete EEG transformer (NeurIPS) d'Ascoli et al. (2025) - CNN+TF EEG/MEG (n=723, 3 languages) Kwon et al. (2024) - Transformer+BigVGAN MEG synthesis Qiu et al. (2025) - MindLLM fMRI transformer (ICML 2025) Chen et al. (2024) - SwinTransformer ECoG (n=48) Yin, Ye & Li (2024) - PredFT brain predictive coding fMRI | • Neural signal tokenizations (patch-based) • Frequency-band embeddings as token sequences • Time-frequency patches as visual tokens (SwinTF) • EEG/MEG signal epochs as sequence elements • fMRI BOLD voxel embeddings | EEG (non-invasive decoding) MEG (speech perception) fMRI (semantic reconstruction) ECoG (multi-subject scaling) Transformers dominate non-invasive modalities post-2022 | • Models long-range temporal dependencies via self-attention - critical for continuous speech • Parallelizable training enables scaling to large multi-participant datasets • Excellent integration with pre-trained language models (GPT, BART, Llama) • Strong scaling properties: performance improves with more data and parameters • State-of-the-art on non-invasive decoding benchmarks across EEG, MEG, and fMRI | • Quadratic attention complexity limits very long input sequences • Requires large training datasets - may overfit on small neural datasets • Less data-efficient than RNNs for small single-participant clinical datasets • Computationally expensive training and inference • Can be outperformed by RNNs in limited-data clinical settings (Komeiji 2024) | Word accuracy: Top-1 reported (d'Ascoli 2025, CNN+TF, n=723, 7 datasets, 3 languages) BLEU/ROUGE: Improvements over baselines (DeWave 2023 vs Wang & Ji 2022) Mel-PCC: ~0.95 (Kwon 2024, TF+BigVGAN, first intelligible MEG synthesis) fMRI BLEU-1: 27.8% (Yin 2024, PredFT brain predictive coding) Transformer performance scales with dataset size - studies with more participants consistently achieve higher accuracy, supporting foundation model directions |
| ERA 4/5 - SELF-SUPERVISED LEARNING (SSL) / CONTRASTIVE PRE-TRAINING (accelerating ~2021–present) |  |  |  |  |  |  |
| SSL / Contrastive / Self-supervised Contrastive SSL / BERT-style masking / wav2vec-style / predictive coding Era: 2021–present; rapidly expanding; bridges data scarcity in neural decoding n = ~8 studies in this review | Défossez et al. (2023) - contrastive SSL MEG/EEG (n=175, Nature MI) Kostas et al. (2021) - BENDR EEG transformer SSL (Frontiers HN) Tang et al. (2023) - brain-GPT alignment fMRI (Nature Neuroscience) Wang et al. (2023) - BrainBERT iEEG SSL foundation (ICLR 2023) Yuan & Makin (2024) - SSL ECoG pretraining Caucheteux et al. (2022) - brain-LM alignment MEG/fMRI | • Raw or minimally processed neural signals (no labeled speech required for pre-training) • Masked signal patches (BERT-style) • Contrastive positive/negative pairs of speech segments • Brain-audio or brain-text alignment pairs | MEG / EEG (contrastive perception decoding) fMRI (brain-LM alignment) iEEG / ECoG (foundation model pre-training) SSL most impactful where labeled data is scarce - all non-invasive modalities | • Leverages large unlabeled neural datasets - reduces expensive labeling burden • Improves downstream task performance in data-limited regimes (+5–15%) • Cross-participant generalizable representations via shared pre-training • Analogous to wav2vec/BERT in audio/NLP - proven scaling paradigm • Enables few-shot fine-tuning for new participants and new tasks | • Pre-training requires large neural corpora - not always available • Contrastive objectives may not fully capture fine-grained speech phonetics • Downstream fine-tuning may still require substantial labeled data • Pre-training distribution shift if target task differs from pre-training • Computational cost of large-scale pre-training infrastructure | Top-1 accuracy: 41% (Défossez 2023, contrastive SSL, n=175, 4 MEG/EEG datasets) SSL gain: +5–15% over supervised baselines (BENDR, Kostas 2021) Story identification: 100% (Tang 2023 - brain-GPT alignment, fMRI) Reduced WER: SSL pretraining reduces WER on ECoG tasks (Yuan & Makin 2024) SSL approaches are the fastest-growing paradigm in this field post-2022 and underpin the majority of foundation model directions |
| ERA 5 - LLM-INTEGRATED / BRAIN-LANGUAGE MODEL ALIGNMENT (emerging ~2022–present; highest open-vocabulary performance) |  |  |  |  |  |  |
| LLM-integrated Brain-GPT / brain-BART / brain-LLM pipeline / neural decoder + LM prior Era: 2022–present; only 14/71 studies (20%) - nascent but highest open-vocab performance n = ~14 studies in this review | Card et al. (2024) - RNN + n-gram LM, intracortical (NEJM) Willett et al. (2023) - RNN + neural LM, intracortical (Nature) Tang et al. (2023) - brain-GPT alignment, fMRI (Nature Neuroscience) Wang & Ji (2022) - EEG + BART open-vocab (AAAI) Duan et al. (2023) - DeWave EEG + LM (NeurIPS) Ye et al. (2025) - fMRI + auto-regressive LLM (Comm. Biology) Qiu et al. (2025) - MindLLM fMRI subject-agnostic (ICML 2025) | • Neural decoder output fed as context to language model • Brain embeddings aligned to LLM latent space • fMRI BOLD → semantic embedding → LLM generation • EEG/ECoG → intermediate text hypothesis → LM re-ranking | Intracortical (clinical WER reduction) fMRI (semantic reconstruction) EEG (open-vocabulary) LM integration is modality-agnostic - can be added to any neural decoder as post-processing or joint optimization | • Dramatically reduces WER via strong language priors - single biggest WER improvement factor • Enables open-vocabulary decoding beyond vocabulary seen during neural training • Contextual coherence: LLM corrects neural decoder errors using linguistic context • Semantic-level understanding enables continuous language reconstruction • Zero-shot generalization to new vocabulary items not seen in neural training data | • Language model biases may override neural signal content - LM hallucination risk • Requires LLM fine-tuning or alignment - computationally expensive • Interpretability further reduced: unclear if LM or neural decoder drives output • Dataset scarcity for brain-LLM alignment training • Only 14/71 studies (20%) in this review use LM integration - field-wide adoption remains limited | WER: 2.5% / 32 WPM (Card 2024, RNN+LM, intracortical - current best) WER: 9% / 62 WPM (Willett 2023, RNN+LM, intracortical) Story identification: 100% (Tang 2023, brain-GPT fMRI) BLEU/ROUGE: State-of-the-art improvements (Duan 2023 DeWave NeurIPS) LM integration is the single most impactful performance driver for open-vocabulary decoding. However only 14/71 studies (20%) incorporate LMs - suggesting substantial untapped potential across the remaining 80% of the literature |
| ERA 4/5 - HYBRID / MULTI-COMPONENT ARCHITECTURES (parallel development ~2020–present) |  |  |  |  |  |  |
| Hybrid / Multi-component CNN+RNN / CNN+Transformer / multi-modal fusion / multi-stage pipelines Era: 2020–present; particularly impactful for multi-modal and large-cohort studies n = ~6 studies in this review | Chen et al. (2024) - 3D ResNet + SwinTransformer ECoG (n=48) d'Ascoli et al. (2025) - CNN+Transformer EEG/MEG (n=723) Cooney et al. (2022) - bimodal CNN for EEG+fNIRS Saha et al. (2019) - CNN+LSTM hierarchical EEG Peterson et al. (2021) - CNN+TL cross-modal generalized decoder Song et al. (2023) - spatiotemporal CNN+RNN HD-sEMG | • Multi-modal signal fusion (EEG+fNIRS spatial+hemodynamic) • Spatial feature extraction (CNN) feeding temporal modeling (RNN/TF) • Multi-scale temporal convolutions + attention • Cross-modal alignment of heterogeneous neural signals | ECoG (spatial+temporal multi-stage) EEG+fNIRS (hybrid modality fusion) MEG+EEG (cross-modal) HD-sEMG (spatiotemporal) Hybrid architectures are dominant for large multi-participant and multi-modal studies | • Combines complementary strengths of CNN (spatial) and RNN/TF (temporal) components • Multi-modal fusion improves performance and robustness over unimodal approaches • Flexible design accommodates diverse neural recording formats • CNN+TF combination achieves state-of-the-art on largest non-invasive datasets | • Increased architectural complexity and hyperparameter count • Requires synchronized multi-modal recordings when fusing signals • Harder to interpret - multiple processing stages obscure feature attribution • Longer training times and higher computational cost | PCC: 0.804 (Chen 2024, ResNet+SwinTF, n=48 - largest ECoG cohort) Word accuracy: Top-1 at scale (d'Ascoli 2025, CNN+TF, n=723, 3 languages) Bimodal gain: +8–12% over EEG alone (Cooney 2022, EEG+fNIRS; Sun 2024) CER: 3.11% (Song 2023, spatiotemporal CNN+RNN, HD-sEMG, n=15) Hybrid CNN+TF architectures dominate the largest-scale studies in this review, suggesting this combination will become the standard for multi-participant decoding pipelines |

Table 4. Generalization Evidence Summary  - Studies Demonstrating Cross-Participant, Cross-Session, Cross-Language, or Cross-Modal Generalization (2015–2026). 21 studies drawn from the 71 included studies. 40 of 71 studies (56%) demonstrated no generalization beyond a single participant and single session.

CP = cross-participant generalization. CS = cross-session generalization. CL = cross-language generalization. CM = cross-modal / cross-task generalization. n = number of participants. Studies are organized by primary generalization type. Studies demonstrating multiple generalization types simultaneously are included in the most clinically significant category with secondary types noted. The remaining 50 of 71 included studies (70%) are not listed here as they report no generalization evidence beyond single-participant single-session evaluation  - this represents a critical finding of this review addressed in Section 6

| Study (authors & year) | Modality | n Participants | Generalization type | Method used to achieve generalization | Performance evidence (from published paper) | Significance / notes |
| --- | --- | --- | --- | --- | --- | --- |
| SECTION 1 - CROSS-PARTICIPANT GENERALIZATION (18 studies) Most common generalization type in this review |  |  |  |  |  |  |
| Willett et al. (2026) | Intracortical | Multiple | Cross-participant | • Cross-brain decoder transfer via shared low-dimensional neural manifolds • Pre-trained intracortical speech decoder transferred to new participants without full retraining • RNN architecture with language model integration | WER: Cross-participant WER reported; transfer accuracy metrics Evidence: Decoder trained on one participant achieves above-chance performance on new participant's neural signals [Preprint bioRxiv Jan 2026 - verify final published values] | First demonstration of cross-brain decoder transfer for intracortical speech BCIs. Directly addresses the scalability bottleneck - currently each participant requires months of calibration. Foundational for clinical deployment at scale. Nature (anticipated). |
| Singh et al. (2025) | sEEG | 25 | Cross-participant | • Shared latent manifold learning across 25 distributed sEEG recordings • Group decoder trained jointly on all participants outperforms individual decoders • Encoder-decoder (Seq2Seq) with shared latent representation space • Transfer learning via distributed brain recordings - no full individual retraining | Evidence: Group decoder accuracy > individual participant decoders across all 25 participants Phoneme accuracy: Improved cross-participant phoneme classification reported Nature Communications 2025 | Largest sEEG cross-participant generalization study in the literature. Demonstrates that pooling distributed sEEG recordings produces a more generalizable decoder than training per-participant. Key scalability evidence for clinical sEEG neuroprostheses. |
| Chen et al. (2024) | ECoG | 48 | Cross-participant | • 3D ResNet and SwinTransformer trained across 48 ECoG participants • Cross-subject acoustic decoding via shared spectrotemporal feature representations • Deep CNN architecture with subject normalization layers | PCC: 0.804 (3D ResNet cross-subject acoustic reconstruction) Comparison: SwinTransformer PCC = 0.796; both outperform within-subject baselines Nature Machine Intelligence 2024 - largest ECoG cohort published | Demonstrates that cross-subject ECoG acoustic decoding is scalable to large cohorts. PCC of 0.804 achieved across 48 participants establishes that deep CNNs can learn modality-level representations generalizable beyond individual neural patterns. |
| Défossez et al. (2023) | MEG / EEG | 175 | Cross-participant | • Contrastive self-supervised learning (wav2vec 2.0-style) across all 175 participants • Multi-subject joint training on 4 public MEG/EEG datasets simultaneously • Subject-independent evaluation - no participant-specific fine-tuning at test time • Zero-shot segment-level speech decoding across participants | Top-1 accuracy: 41% (subject-independent; chance ~1%) Top-10 accuracy: ~70% across 175 participants Scale: 4 public datasets - GWilliams, Schoffelen, Broderick, Armeni Nature Machine Intelligence 2023 - largest non-invasive multi-subject study at publication | First large-scale cross-participant non-invasive speech decoding using contrastive SSL. 175 participants across 4 public datasets. Establishes that SSL enables genuine cross-participant generalization without per-participant calibration. |
| d'Ascoli et al. (2025) | EEG / MEG | 723 | Cross-participant + Cross-language | • CNN+Transformer joint training across 723 participants from 7 datasets • Three languages: English, French, Dutch - same model architecture • Performance scales with number of participants - demonstrated scaling law for neural decoding • Cross-participant evaluation on held-out participants from each dataset | Top-1 accuracy: Reported across 7 datasets and 3 languages Scaling: Performance improves consistently with more training participants Cross-language: Single model architecture generalizes across English, French, Dutch Nature Communications 2025 - largest non-invasive decoding study to date | Largest non-invasive neural decoding study (n=723). First systematic cross-language evaluation of non-invasive brain-to-speech decoding. Demonstrates neural scaling laws analogous to NLP. Establishes that data pooling across participants and languages improves single-model performance. |
| Kostas et al. (2021) - BENDR | EEG | Large-scale | Cross-participant | • Contrastive self-supervised pre-training across large unlabeled multi-participant EEG corpora • wav2vec 2.0-style temporal contrastive objective applied to EEG signals • Downstream fine-tuning with small labeled data per task • Shared pre-trained representations generalize across participants and tasks | Accuracy gain: +5–15% over supervised baselines on downstream tasks in limited-label regime Cross-participant: Pre-trained representations transfer without per-participant retraining Frontiers in Human Neuroscience 2021 - EEG foundation model precursor | Demonstrates that contrastive SSL pre-training on large EEG corpora produces cross-participant generalizable representations. Analogous to wav2vec for audio. Establishes the methodological foundation for EEG foundation models. |
| Saha et al. (2019) | EEG | 10 | Cross-participant | • Hierarchical CNN+LSTM architecture trained in subject-independent mode • Leave-one-subject-out cross-validation across all 10 participants • Learned representations generalize across participant-specific neural variation | Accuracy: ~70–75% (subject-independent, closed-set phonological categories) Comparison: Outperforms subject-specific models on unseen participants Interspeech 2019 - early cross-participant EEG imagined speech classification | Early demonstration of cross-participant subject-independent EEG imagined speech classification using hierarchical deep learning. Established that CNN+LSTM representations can generalize across individuals in closed-set paradigms. |
| Agarwal & Kumar (2022) | EEG | 13 | Cross-participant | • Subject-independent LSTM trained across 13 participants • Cross-subject evaluation using leave-one-out protocol • Achieves subject-independence without per-participant calibration | Accuracy: 73.56% (5-class imagined speech, subject-independent) RT: 0.14 s prediction time - suitable for real-time BCI ETRI Journal 2022 - n=13, largest imagined speech subject-independent EEG study at time | Subject-independent LSTM achieving 73.56% across 13 participants with 0.14 s prediction time - practical for real-time BCI. Demonstrates that cross-participant EEG imagined speech classification is achievable without calibration. |
| Mahapatra & Bhuyan (2023) | EEG | Multiple | Cross-participant (cross-dataset) | • Deep learning model trained on FEIS dataset, transferred to KaraOne dataset • Cross-dataset transfer learning - participants from different recording setups • Demonstrates generalizability across different EEG equipment and protocols | Accuracy: 89.01% (FEIS dataset); 82.35% (KaraOne dataset - cross-dataset transfer) Transfer: Model trained on FEIS maintains >82% on entirely different KaraOne participants Journal of Physics Communications 2023 | Cross-dataset EEG transfer demonstrates generalizability beyond same-lab recording conditions. 82.35% on KaraOne with model trained on FEIS participants validates that deep transfer learning captures modality-level speech representations. |
| Wang et al. (2023) - BrainBERT | iEEG | Multiple | Cross-participant | • BERT-style masked self-supervised pre-training on large unlabeled intracranial EEG corpora • Cross-participant downstream transfer via shared pre-trained iEEG representations • Foundation model architecture - single pre-trained model fine-tuned for multiple tasks and participants | Evidence: Downstream decoding accuracy improvements over supervised baselines across multiple participants Architecture: First iEEG SSL foundation model - enables cross-participant transfer without full retraining ICLR 2023 - first neural SSL foundation model for intracranial recordings | First SSL foundation model for intracranial EEG. BERT-style masking pre-training on unlabeled iEEG. Cross-participant transfer without per-participant retraining established as feasible for invasive modalities. Opens foundation model pathway for iEEG speech BCIs. |
| Yuan & Makin (2024) | ECoG | Multiple | Cross-participant | • Self-supervised pre-training on unlabeled ECoG recordings across multiple participants • Pre-trained representations transferred to speech decoding tasks • Reduces WER compared to supervised-only baselines | WER reduction: SSL pre-training reduces WER on ECoG speech decoding tasks vs supervised baselines Cross-participant: Pre-trained representations generalize across ECoG participants arXiv 2024 preprint - verify final journal publication status | SSL pre-training on ECoG reduces WER for speech decoding. Demonstrates that self-supervised representations learned from unlabeled ECoG generalize across participants and improve speech decoding when fine-tuned with limited labeled data. |
| Peterson et al. (2021) | EEG / ECoG | Multiple | Cross-participant + Cross-modal | • Generalized neural decoder trained across both EEG and ECoG participants simultaneously • CNN + transfer learning enables cross-participant AND cross-modality transfer • Single model architecture handles multiple recording modalities | Cross-participant: Decoder generalizes across participants within and across modalities Cross-modal: ECoG-trained model transfers to EEG participants and vice versa Journal of Neural Engineering 2021 | Demonstrates both cross-participant AND cross-modal generalization simultaneously - rare in this literature. Single CNN decoder architecture handles multiple neural recording modalities. Key evidence for modality-agnostic decoding approaches. |
| Caucheteux et al. (2022) | MEG / fMRI | Large cohort | Cross-participant | • Brain-LLM alignment across large MEG/fMRI cohort • Transformer encoding models predict neural responses across participants • Cross-participant brain-language model alignment via shared semantic representations | R² scores: Alignment between brain and LLM representations reported across participants Evidence: Convergence between neural speech representations and deep LM layers generalizes cross-participant Communications Biology 2022 | Cross-participant brain-LLM alignment demonstrates that shared semantic representations underpin speech perception across individuals. Supports theoretical foundation for LLM integration in non-invasive speech decoding. |
| Goldstein et al. (2022) | ECoG / iEEG | Large cohort | Cross-participant | • Transformer encoding models predict ECoG responses during natural conversation across participants • Shared computational principles between deep LMs and brain activity generalize cross-participant • Naturalistic speech paradigm - not controlled stimuli | R² alignment: Cross-participant alignment between LM representations and ECoG activity Paradigm: Naturalistic conversational speech - first such analysis at scale Nature Neuroscience 2022 | Cross-participant shared computational principles for language in ECoG. Natural conversation paradigm. Alignment between transformer LM layers and ECoG activity generalizes across participants, supporting universal neural language coding hypothesis. |
| SECTION 2 - CROSS-SESSION GENERALIZATION (2 studies) Longitudinal stability - critical for sustained clinical deployment |  |  |  |  |  |  |
| Card et al. (2024) | Intracortical | 1 | Cross-session (longitudinal) | • Rapidly calibrating speech neuroprosthesis - 30-minute daily recalibration protocol • RNN decoder with online fine-tuning to neural signal drift • Consistent vocabulary and task structure maintained across sessions over 8+ months | WER stability: 2.5% WER sustained across 8+ months of recording sessions Accuracy: 97.5% word accuracy maintained longitudinally without full retraining Calibration: 30-minute daily calibration sufficient for high performance NEJM 2024 - demonstrates clinical viability of long-term intracortical BCI | Current best WER (2.5%) is sustained over 8+ months - critical clinical evidence. 30-minute calibration makes daily use feasible. Establishes that cross-session stability is achievable for intracortical speech BCIs without full daily retraining. |
| Degenhart et al. (2020) | Intracortical | 2 | Cross-session (manifold alignment) | • Low-dimensional neural manifold alignment to compensate for day-to-day neural signal drift • Stabilizes decoder performance across sessions without re-collecting labeled data • Linear alignment in low-dimensional latent space - computationally efficient • No behavioral data required for alignment - fully unsupervised cross-session adaptation | Performance retention: ~95% of single-session decoding performance maintained across sessions Comparison: Without alignment, performance degrades substantially across sessions Method: Unsupervised manifold alignment - no labeled data required Nature Biomedical Engineering 2020 - foundational cross-session alignment study | Foundational method for cross-session BCI stability. Manifold alignment preserves ~95% performance without labeled data collection. Addresses one of the major clinical deployment barriers - daily signal drift. Widely cited in subsequent neuroprosthesis work. |
| SECTION 3 - CROSS-LANGUAGE GENERALIZATION (2 studies) Rare - significant gap in the field |  |  |  |  |  |  |
| d'Ascoli et al. (2025) | EEG / MEG | 723 | Cross-language (+ cross-participant) | • Single CNN+Transformer architecture applied across English, French, and Dutch speech datasets • No language-specific architectural modifications - same model for all 3 languages • Performance scales with training data size across all three languages independently | Languages: English, French, Dutch - 3 typologically distinct languages Architecture: Single model generalizes across all three language datasets Scaling: Performance improves consistently with more data per language Nature Communications 2025 - only systematic cross-language non-invasive decoding study in this review | Only study in this review with explicit cross-language evaluation at scale. Single model architecture works across English, French, and Dutch without language-specific tuning. Critical gap addressed - the field has been almost exclusively English-language. |
| Zhu et al. (2021) | HD-sEMG | Multiple | Cross-language (implicit: EN+ZH) | • CNN-based HD-sEMG electrode configuration optimization applied to both English and Chinese digit classification • Single optimized electrode configuration performs across two typologically distinct languages • Tests generalizability of peripheral articulatory representation across language families | Accuracy: 87–90% classification accuracy for both English and Chinese digit sets Cross-language: Single electrode configuration performs comparably for both languages Journal of Neural Engineering 2021 - English+Chinese HD-sEMG digit classification | Implicit cross-language evaluation: same HD-sEMG electrode configuration achieves 87–90% accuracy for both English and Chinese digit classification. Suggests peripheral articulatory representations are partially language-independent. Only HD-sEMG cross-language study in this review. |
| SECTION 4 - CROSS-MODAL AND CROSS-TASK GENERALIZATION (5 studies) Transfer between speech modes or recording modalities |  |  |  |  |  |  |
| de Borman et al. (2024) | ECoG | 16 | Cross-modal (speech modes) + Cross-participant | • Linear model trained on one speech mode (overt) transferred to another (imagined or perceived) • Speech event detection transferred across performed, perceived, and imagined speech modalities • Cross-participant transfer evaluated simultaneously with cross-mode transfer • Frequency band contributions differ across speech modes - informs transfer strategy | Detection accuracy: Per-electrode and per-subject detection reported across all 16 participants Cross-mode: Transfer from overt→imagined and overt→perceived quantified Finding: Different brain regions and spectral bands contribute differentially to each speech mode Communications Biology 2024 | 16-participant ECoG study examining transfer between speech production modes. Overt speech decoders partially transfer to imagined speech but with performance reduction - quantifies the gap. Cross-mode and cross-participant transfer combined in single study. |
| Tang & Huth (2025) | Multi-modal | Multiple | Cross-modal (recording modality) + Cross-participant | • SSL + Transformer architecture applied simultaneously across EEG, MEG, and fMRI • Single model decodes semantic language representations across three non-invasive modalities • Cross-participant cross-modal semantic decoding via shared latent representation • Each modality provides complementary spatial/temporal coverage of speech language networks | Cross-modal: Semantic accuracy demonstrated across EEG, MEG, and fMRI simultaneously Cross-participant: Cross-participant generalization demonstrated alongside cross-modal Current Biology 2025 | First systematic cross-participant AND cross-modal semantic decoding across EEG, MEG, and fMRI simultaneously. Demonstrates that shared semantic neural representations generalize both across individuals and across recording modalities - critical evidence for modality-agnostic decoder design. |
| Martin et al. (2025) | ECoG | Multiple | Cross-modal (electrode config) + Cross-participant | • CNN-based speech mode classifier transfers across electrode configurations and participant anatomies • Cross-electrode transfer using domain adaptation • Cross-participant transfer evaluated across multiple ECoG electrode placements | Transfer: Classification accuracy maintained across electrode configurations Cross-participant: Transfer across participant anatomical variability demonstrated Journal of Neural Engineering 2025 - early access | Cross-electrode and cross-participant transfer for ECoG speech mode classification. Addresses the practical clinical challenge that electrode placement varies across participants. CNN domain adaptation enables generalization across anatomical variability. |
| Alonso-Vazquez et al. (2025) | EEG | Not reported | Cross-modal (task: overt→imagined) | • Multi-condition EEG data used to improve imagined speech decoding via pronounced speech transfer • Pronounced (overt) speech EEG data augments imagined speech decoding via domain adaptation • Transfer learning from data-rich overt condition to data-scarce imagined condition | Transfer: Accuracy improvement for imagined speech decoding when using multi-condition data Method: Overt→imagined speech transfer via domain adaptation and data augmentation Frontiers in Neuroinformatics 2025 | Addresses data scarcity in imagined speech by transferring from the richer overt speech condition. Overt speech data is easier to collect and label - transferring representations to imagined speech reduces calibration burden. Important for clinical applications where imagined speech is the target but overt is available for training. |

Table 5. Benchmark Comparability Analysis  - Eight Dimensions Limiting Cross-Study Performance Comparison Across the 71 Included Studies (2015–2026). Severity ratings: CRITICAL = benchmarks cannot be directly compared without this factor addressed; MAJOR = strong caution required; MODERATE = note and adjust.

WER = word error rate. PCC = Pearson correlation coefficient. CER = character error rate. BLEU = bilingual evaluation understudy. MOS = mean opinion score. WPM = words per minute. CV = cross-validation. CI = confidence interval. SD = standard deviation. This table provides the analytical foundation for Section 5.5 (Benchmark Comparability) and directly informs the answer to RQ2: 'are these benchmarks directly comparable across studies?' The short answer is: no  - not without careful stratification by the dimensions documented here.

| Comparability dimension | Range of variation across 71 included studies | Effect on reported performance | Severity for cross-study comparison | Evidence from included studies | Implication for interpreting cross-study benchmarks |
| --- | --- | --- | --- | --- | --- |
| SECTION A - TASK AND PARADIGM FACTORS (most consequential for cross-study comparison) |  |  |  |  |  |
| 1. Vocabulary size and scope Number of words/classes the decoder must discriminate; closed-set vs open-vocabulary | • 2-class binary discrimination (minimum) • 5–50 word closed-set (most EEG imagined speech) • 50–1,000 word constrained vocabulary (early ECoG) • 125,000+ word open vocabulary (state-of-the-art intracortical) Range: 2 classes → 125,000+ words across 71 studies | Smaller vocabulary → • Inflated classification accuracy • Artificially low WER (fewer confusable words) Direction: inverse relationship between vocabulary size and apparent performance. | CRITICAL | Within-study evidence: Willett 2023 - WER 9% (50-word) vs 23% (125k-word) - same system, same participant Cross-study contrast: EEG closed-set accuracy 70–92% vs EEG open-vocab WER 35–45% Baseline effect: Makin 2020 WER ~3% on constrained corpus vs open-vocabulary systems Studies 3, 34, 38, 39, 42, 46, 50 span full range | Vocabulary size is the single most important factor limiting cross-study WER comparability. A WER of 9% on a 50-word vocabulary is not equivalent to 9% on a 125,000-word vocabulary - the latter is dramatically more challenging and reflects a fundamentally different decoding task. Similarly, closed-set EEG classification accuracies of 70–92% cannot be compared to open-vocabulary EEG WER of 35–45%. Any cross-study performance comparison must first harmonize vocabulary scope. Studies reporting only closed-set accuracy with no open-vocabulary evaluation cannot be used to benchmark field progress toward clinical communication systems. |
| 2. Decoding task type Overt / attempted / imagined (covert) / perceived - fundamentally different neural substrates | • Overt speech: full articulatory execution; strongest neural signal • Attempted speech: motor intent without movement (ALS/paralysis) • Imagined/covert: mental rehearsal; weakest and most variable signal • Perceived: listening paradigm; auditory cortex activation All 4 task types present across 71 studies | Overt > Attempted > Perceived > Imagined • WER typically 5–15% higher for imagined vs overt • Accuracy 10–20% lower for imagined vs overt in EEG studies Direction: imagined speech is harder than overt across all modalities. | CRITICAL | Quantified: de Borman 2024 - ECoG overt→imagined transfer shows measurable performance drop across 16 participants Contrast: Angrick 2021 (imagined sEEG) vs Moses 2021 (attempted ECoG) - different tasks, different signal properties EEG: Most EEG imagined speech studies report much lower accuracy than overt speech studies on comparable participants Studies 5,8,20,21,33,34,40,42,44,45 cover imagined; studies 1,9,15,25 cover overt | Decoding overt speech and decoding imagined speech are neurophysiologically distinct tasks. Overt speech activates both motor production and sensory feedback pathways; imagined speech engages only motor planning circuits without articulatory output or acoustic feedback, producing a weaker and more variable neural signal. Performance benchmarks cannot be meaningfully compared across these task types without explicit acknowledgment that imagined speech decoding is substantially more difficult - a factor that partially explains why invasive overt speech systems achieve WER <10% while non-invasive EEG imagined speech systems report WER 35–45% even when using comparable AI architectures. |
| 3. Performance metric type WER / accuracy / PCC / WPM / CER / BLEU / MOS / story ID - fundamentally different measurement targets | • WER (word error rate): text decoding • Classification accuracy (%): closed-set decoding • PCC (Pearson r): acoustic reconstruction quality • WPM: communication rate • CER (character error rate): character-level text • BLEU / ROUGE: text generation quality • MOS / listener intelligibility: speech synthesis • Top-k accuracy: perception classification • Story / sentence identification: semantic decoding 9 distinct primary metric types across 71 studies | Metrics are incommensurable - no direction applies. A study reporting PCC=0.87 and a study reporting WER=9% measure entirely different aspects of decoding quality and cannot be placed on a single performance scale. | CRITICAL | Example contrast: Card 2024 WER 2.5% vs Chartier 2018 PCC 0.87 vs Tang 2023 100% story ID vs Song 2023 CER 3.11% Same metric, different scope: d'Ascoli 2025 top-1 word accuracy vs Défossez 2023 top-1 segment accuracy - different decoding granularities No conversion: No standardized method exists to convert PCC to WER or BLEU to classification accuracy Metric heterogeneity across all 71 studies is documented in Appendix B | The use of nine distinct primary metric types across 71 studies is the most fundamental barrier to cross-study performance synthesis in this review. Unlike clinical trials where pre-specified primary outcomes enable pooling, this literature has no standard evaluation protocol. WER, the most clinically meaningful metric, is reported by fewer than 40% of included studies - most EEG and fMRI studies report classification accuracy or semantic similarity metrics that cannot be directly compared to WER. This fragmentation prevents a meaningful answer to the question 'which modality performs best' without metric-stratified analysis, which Table 2 of this review provides. |
| SECTION B - POPULATION AND SAMPLE FACTORS |  |  |  |  |  |
| 4. Participant sample size Number of participants in evaluation; single-participant vs multi-participant studies | • n=1: most invasive clinical neuroprosthesis studies (Card 2024, Willett 2023, Moses 2021, Metzger 2023) • n=2–5: majority of ECoG and intracortical research studies • n=10–25: EEG classification studies; Singh 2025 sEEG • n=48: Chen 2024 - largest ECoG cohort • n=175: Défossez 2023 - largest non-invasive pre-SSL • n=723: d'Ascoli 2025 - largest in review Median n across all 71 studies estimated at 8–12 participants | Small n → inflated performance (overfitting to individual neural patterns) • Single-participant results may reflect idiosyncratic neural representations • Variance estimates impossible with n=1 Direction: larger n → more conservative and generalizable estimates. | MAJOR | Range: n=1 (Card 2024, Willett 2023, Metzger 2023) to n=723 (d'Ascoli 2025) No CI: Most n=1–5 studies do not report confidence intervals or standard deviations across participants Variance: Chen 2024 (n=48) reports meaningful PCC distribution; n=1 studies report point estimates only Scale effect: d'Ascoli 2025 demonstrates performance scales with n - underscoring why small-n results cannot represent field capability | Most headline clinical results in this review (Card 2024 WER 2.5%, Willett 2023 WER 9%, Metzger 2023 78 WPM) come from single-participant studies. These are landmark demonstrations of what is achievable in optimal conditions but should not be interpreted as population-level performance estimates. Variability in neural anatomy, clinical condition, and electrode placement means single-participant results may not represent the performance achievable in the next participant. The field's heavy reliance on n=1–5 studies is a structural limitation acknowledged in Section 7 - the contrast with d'Ascoli 2025 (n=723) illustrating what population-level assessment looks like is the most important scaling evidence in this review. |
| 5. Participant clinical status ALS / anarthria / paralysis clinical patients vs healthy volunteers - different decoding contexts | • Healthy volunteers (epilepsy patients used clinically): ECoG, EEG, MEG, fMRI majority of studies • ALS / tetraplegia (intended use population): Card 2024, Willett 2023, Metzger 2023, Moses 2021 • Locked-in syndrome: Chaudhary 2022, Vansteensel 2016 • Anarthria: Moses 2021 • Mixed clinical / healthy: Chen 2024 (epilepsy + other), Singh 2025 ~25 of 71 studies use clinical populations; ~46 use healthy participants | Clinical populations → lower WPM and higher WER than healthy volunteers on comparable systems. Direction: healthy participant performance overestimates clinical deployment performance. | MAJOR | Clinical vs healthy: Herff 2015 (healthy epilepsy patients) WER ~25% vs Moses 2021 (ALS anarthria) WER 26% - appears comparable but task demands differ fundamentally Muscle weakness: ALS patients show reduced articulatory signal strength; affects intracortical threshold crossing rates Confound: Epilepsy patients used for ECoG research are clinical but not the target ALS/paralysis population - performance may not transfer | Research ECoG studies predominantly use epilepsy patients implanted for clinical seizure monitoring - a population that can produce overt speech and has different neural characteristics from the ALS or paralysis population that speech neuroprostheses are designed to serve. Performance benchmarks from epilepsy patient studies may overestimate what is achievable in ALS or locked-in populations where motor pathway degeneration, fatigue, and communication history differ substantially. The distinction between 'clinical proof of concept' and 'intended use population performance' is a critical interpretive consideration throughout this review. |
| SECTION C - EVALUATION METHODOLOGY FACTORS |  |  |  |  |  |
| 6. Evaluation methodology How performance is measured: held-out test set vs cross-validation vs online real-time evaluation | • Within-session k-fold cross-validation: most EEG imagined speech studies • Leave-one-participant-out cross-validation: subject-independent EEG studies • Held-out test set (unseen sessions): most clinical neuroprosthesis studies • Online real-time evaluation: Card 2024, Willett 2023, Angrick 2021 • Pre-train + fine-tune split: foundation model and SSL studies No standardized evaluation protocol across 71 studies | Cross-validation → optimistically biased vs held-out. • Within-session CV inflates accuracy 5–15% vs held-out evaluation • Online evaluation introduces signal drift and fatigue not present in offline CV Direction: offline CV > held-out > online real-time in terms of reported performance. | MAJOR | Clinical vs offline: Card 2024 WER 2.5% (online real-time) vs most EEG studies using offline CV - comparing these directly is misleading CV inflation: Many EEG studies report 85–92% accuracy via cross-validation; held-out evaluation would likely be lower Standard: No evaluation standard exists in this field comparable to train/validation/test splits in machine learning benchmarks like LibriSpeech Studies using online evaluation: 3, 22, 27, 30 (intracortical); 8 (sEEG) | The absence of a standardized evaluation protocol is a major source of incomparability across this literature. EEG studies typically report performance via cross-validation on pooled session data - a procedure that allows signal leakage between training and test sets if not carefully implemented. Intracortical neuroprosthesis studies evaluate online in real clinical settings where signal drift, fatigue, and electrode degradation are real factors. These evaluation contexts are so different that the resulting performance numbers address fundamentally different questions. Standardized evaluation protocols - analogous to LibriSpeech for speech recognition - are identified as a priority research need in Section 7.5. |
| SECTION D - DIVERSITY AND REPRESENTATION FACTORS |  |  |  |  |  |
| 7. Language and dataset diversity Language of decoding task; whether multiple languages or datasets evaluated | • English-only: ~67 of 71 studies (94%) • Mandarin Chinese: Li 2022 (sEMG tonal), Song 2023 (HD-sEMG) • Three languages (EN, FR, NL): d'Ascoli 2025 only • English + Chinese: Zhu 2021 (HD-sEMG digit classification) • Single dataset / lab: majority of included studies • Multi-dataset: Défossez 2023 (4 datasets), d'Ascoli 2025 (7 datasets) 94% English-only; no Arabic, Spanish, or Hindi datasets in this review | English-dominant benchmarks do not generalize to other languages. • Tonal languages (Mandarin) require fundamentally different decoding targets • CER for character-based languages is not comparable to WER for word-based Direction: unknown - performance on non-English languages is largely unstudied. | MAJOR | English dominance: 67/71 studies (94%) are English-only - the field's benchmark landscape is English-centric Tonal exception: Song 2023 CER 3.11% (Chinese HD-sEMG) is not comparable to WER metrics from English studies Scale gap: d'Ascoli 2025 is the only study to systematically evaluate cross-language non-invasive decoding Missing languages: No Arabic, Hindi, Spanish, Portuguese, or African language studies in 71 included | The English-language dominance of this literature creates an unacknowledged benchmark bias - all reported performance figures implicitly assume English phonology, vocabulary, and syntax. For approximately 5.5 billion non-English speakers globally, the practical accessibility of brain-to-speech technology depends on extending these methods to other languages. The CER of 3.11% reported by Song 2023 for Chinese HD-sEMG cannot be compared to English WER figures - they measure different linguistic units in typologically distinct languages. d'Ascoli 2025 is a rare exception demonstrating cross-language non-invasive decoding, but it covers only three European languages. Language diversity is identified as a research priority in Section 7.7. |
| 8. Reporting completeness Whether sufficient methodological detail is provided for independent replication and benchmark validation | • Confidence intervals / standard deviations: reported in minority of studies • Code availability: ~25% of studies release source code • Dataset availability: ~20% release neural recording data • Participant characteristics: age and sex frequently unreported • Training details: learning rate, batch size, stopping criteria often omitted • Statistical significance: rarely tested for benchmark comparisons Quality assessment via 7-dimension checklist (Section 2) - full results in Appendix D | Incomplete reporting → unverifiable benchmarks. • Without training/evaluation details, reported performance cannot be reproduced • No SDs or CIs means significance of performance differences cannot be assessed Direction: incomplete reporting biases toward overstatement of performance. | MODERATE | Code released: BENDR (Kostas 2021), DeWave (Duan 2023), some SSL studies - minority Data released: Nieto 2022, Berezutskaya 2022, Gwilliams 2023 - open datasets used in some studies Missing CI: Most n=1–5 studies report point estimates only - statistical significance of claimed benchmarks cannot be assessed Replications: No independent replication studies identified in 71 included | Benchmark comparability is further limited by inconsistent reporting standards. When confidence intervals are absent - as in most small-n studies - it is impossible to determine whether a WER of 9% vs 11% across two systems represents a meaningful performance difference or measurement noise. The absence of independent replications means no benchmark in this review has been externally validated. The field would benefit substantially from adopting reporting standards analogous to TRIPOD+AI for prediction models - requiring confidence intervals, code availability, and pre-specified evaluation protocols as publication prerequisites. These gaps are assessed quantitatively via the quality checklist in Appendix D. |